## Body Composition Raw Data
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  | 12:31 p.m. | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
| NMR in | 4/26/17 12:31pm
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 1: | 1 | F 12/9/2016 VRE | E58 | 59 | 26.7 | 25 | 4.9 |  | 45.2542 | 42.3729 | 8.3051 | 95.9322 | Set | Date | Fat | Lean | Fluid
| 2 | F 12/19/2016 VRE | E60 | 56.8 | 28.9 | 20.7 | 4.3 |  | 50.8803 | 36.4437 | 7.5704 | 94.8944 | 1 | 2017-04-26 | 93 | 9.7 | -2.4
| 3 | M 12/15/2016 VCreRE | E91 | 32.9 | 10.6 | 17.6 | 2.1 |  | 32.2188 | 53.4954 | 6.383 | 92.0973 | Environment | Temp (°C) | Humidity (%) | Clock time
| 4 | M 12/15/2016 VCreRE | E94 | 29.9 | 6.5 | 18.6 | 2 |  | 21.7391 | 62.2074 | 6.689 | 90.6355 | 1 | 22.9 | 39% | 12:31
| 5 | M 12/15/2016 VCreRE | E95 | 27.4 | 6.7 | 16.1 | 1.9 |  | 24.4526 | 58.7591 | 6.9343 | 90.146
| 6 | M 12/15/2016 VCreRE | E97 | 30.8 | 6.6 | 19 | 2.1 |  | 21.4286 | 61.6883 | 6.8182 | 89.9351
| 7 | F VCreRE | E98 | 21.9 | 3.9 | 13.9 | 1.6 |  | 17.8082 | 63.4703 | 7.3059 | 88.5845
| 8 | M VCreRE | E156 | 50.5 | 24.2 | 20 | 4 |  | 47.9208 | 39.604 | 7.9208 | 95.4455
| 9 | F 12/27/2016 VCreRE | E160 | 24.2 | 6.3 | 13.6 | 1.6 |  | 26.0331 | 56.1983 | 6.6116 | 88.843
| 10 | F 12/27/2016 VCreRE | E165 | 57.3 | 32 | 19.2 | 4.1 |  | 55.8464 | 33.5079 | 7.1553 | 96.5096
| 11 | M 12/27/2016 | E180 | 34.9 | 9.2 | 19.4 | 2.4 |  | 26.361 | 55.5874 | 6.8768 | 88.8252
| 12 | M 12/27/2016 | E181 | 38.1 | 10.6 | 21.1 | 2.5 |  | 27.8215 | 55.3806 | 6.5617 | 89.7638
| 13 | M 12/27/2016 | E182 | 32.7 | 7.7 | 19.4 | 2 |  | 23.5474 | 59.3272 | 6.1162 | 88.9908
| 14 | F 12/27/2016 | E183 | 26.6 | 5.3 | 16.6 | 1.9 |  | 19.9248 | 62.406 | 7.1429 | 89.4737
| 15 | F 12/27/2016 | E184 | 46.7 | 24.4 | 17.2 | 2.6 |  | 52.2484 | 36.8308 | 5.5675 | 94.6467
|  |  | Avg | 37.98 | 13.9733 | 18.4933 | 2.6667 |  | 32.899 | 51.8186 | 6.9306 | 91.6482
|  |  | se | 3.2892 | 2.5881 | 0.74165 | 0.28093 |  | 3.4708 | 2.7957 | 0.17793 | 0.76507
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola seads) as recommended by the manufacture.

## Sheet1
Machine calibration test using a manufacture-
provided reference sample:
Set | Date | Fat | Lean | Fluid
1 | 2017-03-24 | 92.9 | 9.3 | -2.3
Environment | Temp (°C) | Humidity (%) | Clock time
1 | 23 | Low | 11:45