## Body Composition Raw Data
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  | 11:50 a.m. | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
| NMR in | 02/05/18 11:50am
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 1: | 1 | M 8/24/2017 | M982 | 40.5 | 12.9 | 22.1 | 2.5 |  | 31.8519 | 54.5679 | 6.1728 | 92.5926 | Set | Date | Fat | Lean | Fluid
Glpr1 | 2 | M 8/24/2017 | M983 | 35.2 | 8.2 | 21.6 | 2.3 |  | 23.2955 | 61.3636 | 6.5341 | 91.1932 | 1 | 2018-02-05 | 92.5 | 9.5 | -2.2
| 3 | F 8/24/2017 | M984 | 28.6 | 6.4 | 17.3 | 2.2 |  | 22.3776 | 60.4895 | 7.6923 | 90.5594 | Environment | Temp (°C) | Humidity (%) | Clock time
| 4 | F 8/24/2017 | M985 | 44.3 | 18 | 19.7 | 3.3 |  | 40.6321 | 44.4695 | 7.4492 | 92.5508 | 1 | 23.1 | Low | 11:50
| 5 | M 9/21/2017 | J145 | 34.7 | 8.6 | 20.1 | 2.4 |  | 24.7839 | 57.9251 | 6.9164 | 89.6254
| 6 | M 9/21/2017 | J147 | 46.8 | 26.2 | 15.9 | 2.9 |  | 55.9829 | 33.9744 | 6.1966 | 96.1538
| 7 | F 9/21/2017 | J149 | 53.5 | 22.9 | 24.4 | 4 |  | 42.8037 | 45.6075 | 7.4766 | 95.8879
| 8 | M 10/9/2017 | J239 | 42.9 | 18.1 | 19.1 | 3.2 |  | 42.1911 | 44.5221 | 7.4592 | 94.1725
| 9 | F 10/9/2017 | J244 | 22 | 3.5 | 13.9 | 1.6 |  | 15.9091 | 63.1818 | 7.2727 | 86.3636
| 10 | F 10/9/2017 | J245 | 51.1 | 24 | 21.3 | 3.3 |  | 46.9667 | 41.683 | 6.4579 | 95.1076
| 11 | F 10/9/2017 | J246 | 22.4 | 4.1 | 14.2 | 1.6 |  | 18.3036 | 63.3929 | 7.1429 | 88.8393
| 12 | F 10/9/2017 | J247 | 24.5 | 6.1 | 14.2 | 1.7 |  | 24.898 | 57.9592 | 6.9388 | 89.7959
|  |  | Avg | 37.2083 | 13.25 | 18.65 | 2.5833 |  | 32.4997 | 52.428 | 6.9758 | 91.9035
|  |  | se | 3.1867 | 2.3782 | 1.0137 | 0.22185 |  | 3.7016 | 2.853 | 0.15221 | 0.88022
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola seeds) as recommended by the manufacture.