## Body Composition Raw Data
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  | 10:40 a.m. | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
| NMR in | 2018-03-06 | 10:30:00AM
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 1: | 1 | 21 wks - M | J376 | 29.9 | 4.8 | 19.1 | 1.8 |  | 16.0535 | 63.8796 | 6.0201 | 85.9532 | Set | Date | Fat | Lean | Fluid
Glplr FF | 2 | 21 wks - F | J377 | 31.4 | 6.6 | 19.3 | 2.1 |  | 21.0191 | 61.465 | 6.6879 | 89.172 | 1 | 2018-03-06 | 92.6 | 9.6 | -2.3
| 3 | 21 wks - F | J378 | 29.1 | 6.8 | 16.9 | 2 |  | 23.3677 | 58.0756 | 6.8729 | 88.3162 | Environment | Temp (°C) | Humidity (%) | Clock time
| 4 | 21 wks - F | J379 | 34.9 | 9 | 20.1 | 2.4 |  | 25.788 | 57.5931 | 6.8768 | 90.2579 | 1 | 23.4 | Low | 10:30
| 5 | 21 wks - F | J380 | 34.2 | 8.3 | 19.8 | 2.3 |  | 24.269 | 57.8947 | 6.7251 | 88.8889
| 6 | 21 wks - F | J383 | 29.4 | 5.5 | 18.5 | 2 |  | 18.7075 | 62.9252 | 6.8027 | 88.4354
|  |  | Avg | 31.4833 | 6.8333 | 18.95 | 2.1 |  | 21.5341 | 60.3055 | 6.6642 | 88.5039
|  |  | se | 1.0261 | 0.65354 | 0.46886 | 0.089443 |  | 1.497 | 1.142 | 0.13255 | 0.58358
Group 3: | 1 | 20 wks - M | J277 | 41.4 | 11 | 24.1 | 2.7 |  | 26.57 | 58.2126 | 6.5217 | 91.3043
Glplr RE | 2 | 20 wks - M | J280 | 33.2 | 7.1 | 20.7 | 2.2 |  | 21.3855 | 62.3494 | 6.6265 | 90.3614
| 3 | 20 wks - M | J279 | 38.1 | 10 | 22 | 2.4 |  | 26.2467 | 57.7428 | 6.2992 | 90.2887
|  |  | Avg | 37.5667 | 9.3667 | 22.2667 | 2.4333 |  | 24.7341 | 59.4349 | 6.4825 | 90.6515
|  |  | se | 2.3821 | 1.1695 | 0.99051 | 0.1453 |  | 1.6769 | 1.4635 | 0.096498 | 0.3271
|  |  | (G1 vs G3) | 0.026163 | 0.077505 | 0.0098249 | 0.078398 |  | 0.23296 | 0.66504 | 0.40266 | 0.044859
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola seads) as recommended by the manufacture.