## Body Composition Raw Data
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  |  | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 3: | 5 | M 11/19/17 | J0471 | 33.1 | 9.6 | 18.3 | 2.4 |  | 29.003 | 55.287 | 7.2508 | 91.5408
Glp1rKO | 6 | F 11/19/17 | J0472 | 22.1 | 3.7 | 14.2 | 1.4 |  | 16.7421 | 64.2534 | 6.3348 | 87.3303
| 8 | F 11/19/17 | J0473 | 25.4 | 3.8 | 16.7 | 1.6 |  | 14.9606 | 65.748 | 6.2992 | 87.0079
|  |  | Avg | 26.8667 | 5.7 | 16.4 | 1.8 |  | 20.2352 | 61.7628 | 6.6283 | 88.6263
|  |  | se | 3.259 | 1.9502 | 1.193 | 0.30551 |  | 4.4139 | 3.2665 | 0.31141 | 1.4602
Group 4: | 9 | M 11/24/17 | J0475 | 46.8 | 24.5 | 17.9 | 2.5 |  | 52.3504 | 38.2479 | 5.3419 | 95.9402
Glp1rRe | 10 | M 11/24/17 | J0476 | 27.8 | 3.6 | 18.9 | 2.2 |  | 12.9496 | 67.9856 | 7.9137 | 88.8489
| 12 | M 11/24/17 | J0479 | 25.4 | 3.5 | 17.4 | 1.8 |  | 13.7795 | 68.5039 | 7.0866 | 89.3701
|  |  | Avg | 33.3333 | 10.5333 | 18.0667 | 2.1667 |  | 26.3599 | 58.2458 | 6.7807 | 91.3864
|  |  | se | 6.7689 | 6.9834 | 0.44096 | 0.20276 |  | 12.9975 | 10.0001 | 0.758 | 2.2819
|  |  | (G3 vs G4) | 0.4379 | 0.5415 | 0.26025 | 0.3739 |  | 0.67855 | 0.75494 | 0.86147 | 0.36589