## Body Composition Raw Data
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  | 1:50 p.m. | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
| NMR in | 04/20/18 1:50pm
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 1: | 1 | M 12/19/2017 | J0630 | 28.6 | 5.5 | 18.1 | 2.1 |  | 19.2308 | 63.2867 | 7.3427 | 89.8601 | Set | Date | Fat | Lean | Fluid
Glp1rRe | 2 | M 12/22/2017 | J0696 | 34.7 | 12.2 | 17.8 | 2.3 |  | 35.1585 | 51.2968 | 6.6282 | 93.0836 | 1 | 2018-04-20 | 92.6 | 9.8 | -2.4
| 3 | M 12/22/2017 | J0697 | 29.6 | 10 | 14.9 | 1.9 |  | 33.7838 | 50.3378 | 6.4189 | 90.5405 | Environment | Temp (°C) | Humidity (%) | Clock time
| 4 | F 12/22/2017 | J0699 | 48.2 | 24.6 | 18 | 3.3 |  | 51.0373 | 37.3444 | 6.8465 | 95.2282 | 1 | 23.1 | Low | 13:50
|  |  | Avg | 35.275 | 13.075 | 17.2 | 2.4 |  | 34.8026 | 50.5664 | 6.8091 | 92.1781
|  |  | se | 4.5106 | 4.0868 | 0.7692 | 0.31091 |  | 6.5014 | 5.301 | 0.19812 | 1.2308
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola seeds) as recommended by the manufacture.