## Body Composition Raw Data
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  | #REF! | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 1: | 1 | F 4/5/18 | X0260 | 51.3 | 25.2 | 20.4 | 3.5 |  | 49.1228 | 39.7661 | 6.8226 | 95.7115 | Set | Date | Fat | Lean | Fluid
Glp1rRe |  |  | Avg | 51.3 | 25.2 | 20.4 | 3.5 |  | 49.1228 | 39.7661 | 6.8226 | 95.7115 | 1 | 2018-08-02 | 92.7 | 10.4 | -2.7
|  |  | se | [9 empty] | Environment | Temp (°C) | Humidity (%) | Clock time