## Body Composition
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  |  | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other administrative
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | work, please contact Debra Warrick at: (734) 232-9706 or warrickd@umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | DOB/SEX | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 1: | 1 | 6/25/18 M | X0691 | 27.6 | 6.4 | 16.5 | 1.7 |  | 23.1884 | 59.7826 | 6.1594 | 89.1304 | Set | Date | Fat | Lean | Fluid
| 2 | 6/25/18 F | X0692 | 29.7 | 6.5 | 17.8 | 1.6 |  | 21.8855 | 59.9327 | 5.3872 | 87.2054 | 1 | 2018-12-21 | 92.3 | 10.2 | -2.5
| 3 | 7/13/18 M VGRe | X0840 | 29.5 | 5.5 | 18.5 | 1.9 |  | 18.6441 | 62.7119 | 6.4407 | 87.7966 | Environment | Temp (°C) | Humidity (%) | Clock time
| 4 | 7/14/18 M VGRe | X0849 | 36.9 | 9.9 | 21 | 2.4 |  | 26.8293 | 56.9106 | 6.5041 | 90.2439 | 1 | 22.9 | low | 9:20
| 5 | 7/14/18 M VGRe | X0850 | 56.8 | 19.4 | 29.4 | 3.7 |  | 34.1549 | 51.7606 | 6.5141 | 92.4296
| 6 | 7/14/18 M VGRe | X0851 | 42.4 | 11.6 | 23.7 | 2.6 |  | 27.3585 | 55.8962 | 6.1321 | 89.3868
| 7 | 7/16/18 M VGRe | X0857 | 54.9 | 19.4 | 27.4 | 3.6 |  | 35.337 | 49.9089 | 6.5574 | 91.8033
| 8 | 7/16/18 F VGRe | X0860 | 71.4 | 36.7 | 26.5 | 5.4 |  | 51.4006 | 37.1148 | 7.563 | 96.0784
| 9 | 7/24/18 F VGRe | X0867 | 26.5 | 5.5 | 16.5 | 1.7 |  | 20.7547 | 62.2642 | 6.4151 | 89.434
| 10 | 8/5/18 F | X0934 | 27.9 | 4.1 | 18.6 | 1.9 |  | 14.6953 | 66.6667 | 6.81 | 88.172
| 11 | 8/5/18 F | X0935 | 28.3 | 6.1 | 17.1 | 1.8 |  | 21.5548 | 60.424 | 6.3604 | 88.3392
| 12 | 8/16/18 M Glp1RRE | X0970 | 63.3 | 34.6 | 22.1 | 3.9 |  | 54.6603 | 34.9131 | 6.1611 | 95.7346
| 13 | 8/16/18 M Glp1RRE | X0974 | 29.5 | 7.2 | 17.4 | 1.8 |  | 24.4068 | 58.9831 | 6.1017 | 89.4915
| 14 | 8/16/18 F Glp1RRE | X0978 | 61.2 | 28.4 | 25.1 | 3.7 |  | 46.4052 | 41.0131 | 6.0458 | 93.4641
| 15 | 8/16/18 F Glp1RRE | X0979 | 41.9 | 19.6 | 16.8 | 3.1 |  | 46.778 | 40.0955 | 7.3986 | 94.2721
| 16 | 8/17/18 M Glp1RKO | X0989 | 26.8 | 3.9 | 17.8 | 1.6 |  | 14.5522 | 66.4179 | 5.9701 | 86.9403
| 17 | 8/17/18 M Glp1RKO | X0990 | 24.7 | 2.6 | 16.9 | 1.5 |  | 10.5263 | 68.4211 | 6.0729 | 85.0202
| 18 | 8/23/18 M Glp1RRE | W0141 | 73.1 | 45.1 | 21.6 | 4 |  | 61.6963 | 29.5486 | 5.472 | 96.7168
| 19 | 8/23/18 M Glp1RRE | W0142 | 28 | 5 | 18.2 | 1.8 |  | 17.8571 | 65 | 6.4286 | 89.2857
|  |  | Avg | 41.0737 | 14.6053 | 20.4684 | 2.6158 |  | 30.1413 | 54.0929 | 6.3418 | 90.5761
|  |  | se | 3.8516 | 2.9606 | 0.94516 | 0.25891 |  | 3.4677 | 2.7389 | 0.12195 | 0.77091