## Sheet1
Michigan Mouse Metabolic Phenotyping Center (Mi-MMPC)
Michigan Nutrition and Obesity Research Center (MNORC)
Michigan Diabetes and Research Center (MDRC)
University of Michigan Animal Phenotyping Services
Nathan Qi, v. 2019
Study Condition | [6 empty] | Instrument Settings | [6 empty] | Contact and Supporting Grants
1. Clock Time: |  |  |  | 15:00 |  |  | 1. Minispec LF90 II, Bruker Optics | [6 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  |  | 21.6 °C |  |  | 2. 90° Pulse Length: |  |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  |  | 37 +/- 0.002 (°C) |  |  | 3. 180° Pulse Length: |  |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  |  | 2 |  |  | 4. Detecting Angle (Broad): |  |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other administrative work,
5. Rd: |  |  |  | 0.10 (s) |  |  | 5. Detecting Angle (Narrow): |  |  |  |  | 129° |  | please contact Debra Warrick at: (734) 232-9706 or warrickd@med.umich.edu or
6. NMR Frequency: |  |  |  | 6.219300 (MHz) |  |  | 6. Instrument Gain: |  |  |  |  | 57 (dB) |  | Melanie Schmitt at: (734) 764-7043 or mlschmi@med.umich.edu
7. NMR Offset: |  |  |  | 0.380 (KHz) |  |  | 7. Recording Dead Time: |  |  |  |  | 0.0393 (ms)
8. Magnetic Field Diviation: |  |  |  | Wide: 0.0000 (KHz) |  |  | 8. Field Homogeneity Limit: |  |  |  |  | 0.15 (ms) |  | 3. If you include these results in any publications, please mention us as the "University of Michigan
|  |  |  | Fine: 0.0080 (KHz) |  |  | 9. Pulse Attenuation: |  |  |  |  | 0 (dB) |  | Animal Phenotyping Core" for conducting the study. The study was supported by P30 grants
9. Daily Check: |  |  |  | Passed |  |  | 10. Recycle Delay: |  |  |  |  | 2.1 (s) |  | DK020572 (MDRC), DK089503 (MNORC), and 1U2CDK110678-01 (Mi-MMPC).
10. Reference Sample Test (37°C): |  |  |  | Consistent, in which |  |  | 11. Magnetic Field Steps: |  |  |  |  | 0 |  | Our productivity and effectiveness as a Core is measured in part by the citation of the grants in
|  |  |  | Fat: 87.7g | [9 empty] | published work.
Lean: 10.7g
Fluid: -2.8g
System calibration test using a reference sample provided by the manufacture:
|  |  |  | BW | Fat | Lean | Fluid | Fat | Lean | Fluid | Sum |  |  |  | Reference sample |  |  | Measuring envionment
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) | (%) | (%) | (%) | (%) |  | Set | Date | Fat | Lean | Fluid | Temp (°C) | Humidity | Clock time
| 1 | M | D839 – KO | 57.2 | 24.2 | 23.6 | 3.7 | 42.3077 | 41.2587 | 6.4685 | 90.035 |  | 1 | 2020-11-20 | 87.7 | 10.7 | -2.8 | 21.6 | lo% | 15:00
Group 1: | 2 | F | D918 – VGRe | 48.2 | 19.5 | 20.4 | 3.6 | 40.4564 | 42.3237 | 7.4689 | 90.249
| 3 | F | D925 – VGRe | 53.3 | 24.6 | 19.9 | 4 | 46.1538 | 37.3358 | 7.5047 | 90.9944
| 4 | M | D928 – KO | 54 | 20.9 | 23.4 | 3.5 | 38.7037 | 43.3333 | 6.4815 | 88.5185
5
6
7
8
9
10
11
12
|  |  | Avg | 53.175 | 22.3 | 21.825 | 3.7 | 41.9054 | 41.0629 | 6.9809 | 89.9492
se
1
Group 2: | 2
3
4
5
6
7
8
9
10
|  |  | Avg | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | se | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola seads) as recommended by the manufacture.
National Mouse Metabolic
Phenotyping Center
Date and time: 011/20/2020, 3:00 PM