## Body composition raw data
Michigan Metabolomics and Obesity Center (MMOC)
Michigan Diabetes and Research Center (MDRC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition | [5 empty] | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  |  | 15:40 |  | 1. NMR System: |  |  | Minispec LF90 II, Bruker Optics |  |  | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  |  | 21-23 (°C) |  | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  |  | 37 +/- 0.002 (°C) |  | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  |  | 2 |  | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  |  | 0.10 (s) |  | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  |  | 6.219300 (MHz) |  | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  |  | 0.380 (KHz) |  | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  |  | Wide: 0.0000 (KHz) |  | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  |  | Fine: 0.0080 (KHz) |  | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC). Our productivity and effectiveness
9. Daily Check: |  |  |  | Passed |  | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | as a Core is measured in part by the citation of the grants in published work.
10. Reference Sample Test (37°C): |  |  |  | Consistant, in which |  | 11. Magnetic Field Steps: |  |  |  | 0
Fat:
Lean:
Fluid:
[5 empty] | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum
Groups | # | Sex/Age | ID |  | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | STD measurements
Group 2: | 1 | F | A711 |  | 21.9 | 2.8 | 14.4 | 1.5 |  | 12.7854 | 65.7534 | 6.8493 | 85.3881
VgatFlp | 2 | F | A717 |  | 20.9 | 3.3 | 13.3 | 1.4 |  | 15.7895 | 63.6364 | 6.6986 | 86.1244
| 3 | F | A719 |  | 62.7 | 32.7 | 22.6 | 4.5 |  | 52.1531 | 36.0447 | 7.177 | 95.3748
| 4 | M | A770 |  | 60 | 30.6 | 22.7 | 4.3 |  | 51 | 37.8333 | 7.1667 | 96
| 5 | M | A771 |  | 25.5 | 3.2 | 16.8 | 1.6 |  | 12.549 | 65.8824 | 6.2745 | 84.7059
| 6 | M | A772 |  | 28.2 | 4.4 | 18.1 | 1.7 |  | 15.6028 | 64.1844 | 6.0284 | 85.8156
| 7 | M | A773 |  | 28.4 | 4 | 18.7 | 1.7 |  | 14.0845 | 65.8451 | 5.9859 | 85.9155
|  |  | Avg |  | 35.3714 | 11.5714 | 18.0857 | 2.3857 |  | 24.852 | 57.0257 | 6.5972 | 88.4749
|  |  | se |  | 6.7995 | 5.1932 | 1.3818 | 0.5221 |  | 6.9173 | 5.2005 | 0.19122 | 1.8716
Group 3: | 1 | F | A724 |  | 30.9 | 10.3 | 15.6 | 2.4 |  | 33.3333 | 50.4854 | 7.767 | 91.5858
VgatCre | 2 | M | A725 |  | 24.6 | 3.1 | 17 | 1.7 |  | 12.6016 | 69.1057 | 6.9106 | 88.6179
|  |  | Avg |  | 27.75 | 6.7 | 16.3 | 2.05 |  | 22.9675 | 59.7956 | 7.3388 | 90.1018
|  |  | se |  | 3.15 | 3.6 | 0.7 | 0.35 |  | 10.3659 | 9.3101 | 0.42821 | 1.4839
2 Tail T-Test
|  |  |  | G2 vs. G3 | 0.58789 | 0.65111 | 0.53397 | 0.75543 |  | 0.89881 | 0.80783 | 0.11931 | 0.67587
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed
individually in the measuring tube. The machine is daily checked using a reference sample (canola seads) as recommended by the manufacture.