## Body Composition Raw Data
Michigan Mouse Metabolic Phenotyping Center (MI-MMPC)
Michigan Diabetes and Research Center (MDRC)
Michigan Metabolomics and Obesity Center (MMOC)
University of Michigan Animal Phenotyping Core
(These spreadsheets were created by Nathan Qi)
Study Condition |  |  |  | Instrument Setting | [5 empty] | Notes
1. Clock Time: |  |  | 11:45 a.m. | 1. Minispec LF90 II, Bruker Optics | [5 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  | 21-23 (°C) | 2. 90° Pulse Length: |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  | 37 +/- 0.002 (°C) | 3. 180° Pulse Length: |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  | 2 | 4. Detecting Angle (Broad): |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other
5. Rd: |  |  | 0.10 (s) | 5. Detecting Angle (Narrow): |  |  |  | 129° |  | administrative work, please contact Grace Wu at: (734) 647-2271 or glwu@med.umich.edu
6. NMR Frequency: |  |  | 6.219300 (MHz) | 6. Instrument Gain: |  |  |  | 57 (dB)
7. NMR Offset: |  |  | 0.380 (KHz) | 7. Recording Dead Time: |  |  |  | 0.0393 (ms) |  | 3. If you include these results in any publications, please mention us as the "University
8. Magnetic Field Diviation: |  |  | Wide: 0.0000 (KHz) | 8. Field Homogeneity Limit: |  |  |  | 0.15 (ms) |  | of Michigan Animal Phenotyping Core" for conducting the study. The study was supported
|  |  | Fine: 0.0080 (KHz) | 9. Pulse Attenuation: |  |  |  | 0 (dB) |  | by P30 grants DK020572 (MDRC) and DK089503 (MNORC), and 1U2CDK110678-01 (UM-MMPC). Our
9. Daily Check: |  |  | Passed | 10. Recycle Delay: |  |  |  | 2.1 (s) |  | productivity and effectiveness as a Core is measured in part by the citation of the grants
10. Reference Sample Test (37°C): |  |  | Consistant, in which | 11. Magnetic Field Steps: |  |  |  | 0 |  | in published work.
|  |  | Fat: | 12. Notes:
Lean:
Fluid:
| NMR in | 3/24/17 11:45am
|  |  |  | BW | Fat | Lean | Fluid |  | Fat | Lean | Fluid | Sum | Machine calibration test using a manufacture-
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) |  | (%) | (%) | (%) | (%) | provided reference sample:
Group 1: | 1 | M 11/07/2016 | A866 | 39.4 | 13.9 | 19.5 | 2.3 |  | 35.2792 | 49.4924 | 5.8376 | 90.6091 | Set | Date | Fat | Lean | Fluid
Vgat Cre | 2 | M 11/07/2016 | A867 | 30.1 | 4.6 | 20.1 | 1.8 |  | 15.2824 | 66.7774 | 5.9801 | 88.0399 | 1 | 2017-03-24 | 92.9 | 9.3 | -2.3
| 3 | M 11/07/2016 | A868 | 31.6 | 6.8 | 19.7 | 2.2 |  | 21.519 | 62.3418 | 6.962 | 90.8228 | Environment | Temp (°C) | Humidity (%) | Clock time
| 4 | M 11/07/2016 | A869 | 25.6 | 4.3 | 16.9 | 1.6 |  | 16.7969 | 66.0156 | 6.25 | 89.0625 | 1 | 23 | Low | 11:45
|  |  | Avg | 31.675 | 7.4 | 19.05 | 1.975 |  | 22.2194 | 61.1568 | 6.2574 | 89.6336
|  |  | se | 2.8733 | 2.2372 | 0.72744 | 0.1652 |  | 4.5513 | 4.0069 | 0.24995 | 0.6603
Group 2: | 1 | M | A851 | 63 | 29.1 | 26.2 | 4.8 |  | 46.1905 | 41.5873 | 7.619 | 95.3968
Vgat F6 | 2 | M | A944 | 24.1 | 4.6 | 14.8 | 1.6 |  | 19.0871 | 61.4108 | 6.639 | 87.1369
| 3 | M | A949 | 60.8 | 33.3 | 21.1 | 4.2 |  | 54.7697 | 34.7039 | 6.9079 | 96.3816
| 4 | M | A969 | 54.1 | 24.4 | 22.4 | 3.8 |  | 45.1017 | 41.4048 | 7.024 | 93.5305
|  |  | Avg | 50.5 | 22.85 | 21.125 | 3.6 |  | 41.2873 | 44.7767 | 7.0475 | 93.1115
|  |  | se | 9.0012 | 6.3491 | 2.3697 | 0.69761 |  | 7.7094 | 5.7713 | 0.20688 | 2.0774
|  |  | (G1 vs G2) | 0.093412 | 0.061511 | 0.43462 | 0.063959 |  | 0.077223 | 0.058529 | 0.050812 | 0.16171
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola seads) as recommended by the manufacture.