## Sheet1
Michigan Mouse Metabolic Phenotyping Center (Mi-MMPC)
Michigan Nutrition and Obesity Research Center (MNORC)
Michigan Diabetes and Research Center (MDRC)
University of Michigan Animal Phenotyping Services
Nathan Qi, v. 2019
Study Condition | [6 empty] | Instrument Settings | [6 empty] | Contact and Supporting Grants
1. Clock Time: |  |  |  | 12:10 |  |  | 1. Minispec LF90 II, Bruker Optics | [6 empty] | 1. If you have any questions regarding the study procedures and the calculation equations,
2. Room Temperature: |  |  |  | 21-23 (°C) |  |  | 2. 90° Pulse Length: |  |  |  |  | 23.3 (µs) |  | please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Measuring Temperature: |  |  |  | 37 +/- 0.002 (°C) |  |  | 3. 180° Pulse Length: |  |  |  |  | 45.84 (µs)
4. Scan Cycles: |  |  |  | 2 |  |  | 4. Detecting Angle (Broad): |  |  |  |  | 124° |  | 2. If you have any questions regarding the charges of the services and other administrative work,
5. Rd: |  |  |  | 0.10 (s) |  |  | 5. Detecting Angle (Narrow): |  |  |  |  | 129° |  | please contact Debra Warrick at: (734) 232-9706 or warrickd@med.umich.edu or
6. NMR Frequency: |  |  |  | 6.219300 (MHz) |  |  | 6. Instrument Gain: |  |  |  |  | 57 (dB) |  | Melanie Schmitt at: (734) 764-7043 or mlschmi@med.umich.edu
7. NMR Offset: |  |  |  | 0.380 (KHz) |  |  | 7. Recording Dead Time: |  |  |  |  | 0.0393 (ms)
8. Magnetic Field Diviation: |  |  |  | Wide: 0.0000 (KHz) |  |  | 8. Field Homogeneity Limit: |  |  |  |  | 0.15 (ms) |  | 3. If you include these results in any publications, please mention us as the "University of Michigan
|  |  |  | Fine: 0.0080 (KHz) |  |  | 9. Pulse Attenuation: |  |  |  |  | 0 (dB) |  | Animal Phenotyping Core" for conducting the study. The study was supported by P30 grants
9. Daily Check: |  |  |  | Passed |  |  | 10. Recycle Delay: |  |  |  |  | 2.1 (s) |  | DK020572 (MDRC), DK089503 (MNORC), and 1U2CDK110678-01 (Mi-MMPC).
10. Reference Sample Test (37°C): |  |  |  | Consistant, in which |  |  | 11. Magnetic Field Steps: |  |  |  |  | 0 |  | Our productivity and effectiveness as a Core is measured in part by the citation of the grants in
|  |  |  | Fat: | [9 empty] | published work.
Lean:
Fluid:
System calibration test using a reference sample provided by the manufacture:
|  |  |  | BW | Fat | Lean | Fluid | Fat | Lean | Fluid | Sum |  |  |  | Reference sample |  |  | Measuring envionment
Groups | # | Sex/Age | ID | (g) | (g) | (g) | (g) | (%) | (%) | (%) | (%) |  | Set | Date | Fat | Lean | Fluid | Temp (°C) | Humidity | Clock time
| 1 | M/17 wks | G0460 | 55.5 | 26.9 | 19.4 | 4.1 | 48.4685 | 34.955 | 7.3874 | 90.8108 |  | 1 | 2019-08-21 | 88.4 | 9.6 | -2.4 | 22.9 | 38% | 12:10:00PM
Group 1: | 2
M-Vgat-Flp/Glp1r-Cre::Lepr-Neo | 3
4
5
6
7
8
9
10
11
12
|  |  | Avg | 55.5 | 26.9 | 19.4 | 4.1 | 48.4685 | 34.955 | 7.3874 | 90.8108
se
| 1 | F/17 wks | G0457 | 52 | 21.9 | 21.8 | 4 | 42.1154 | 41.9231 | 7.6923 | 91.7308
Group 2: | 2
F-Vgat-Flp/Glp1r-Cre::Lepr-Neo | 3
4
5
6
7
8
9
10
11
12
|  |  | Avg | 52 | 21.9 | 21.8 | 4 | 42.1154 | 41.9231 | 7.6923 | 91.7308
se
1. Body composition scan:
Body fat, lean mass, and free fluid were measured using an NMR-based analyzer (Minispec LF90II, Bruker Optics). The measurements took less than 2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola seads) as recommended by the manufacture.
National Mouse Metabolic
Phenotyping Center
Date and time: 8/21/2019, 12:10 PM